## SS M R290
ARTÍCULO | DESCRIPCIÓN | Inglés | Italiano | PVP | SS 25A 220V-50HZ R290 | SS 25W 220V-50HZ R290 | SS 35A 220V-50HZ R290 | SS 35W 220V-50HZ R290 | SS 45A 220V-50HZ R290 | SS 45W 220V-50HZ R290 | SS 60A 220V-50HZ R290 | SS 60W 220V-50HZ R290 | SS 80A M 220V-50HZ R290 | SS 80W M 220V-50HZ R290 | SS 135 A M 220V-50HZ R290 | SS 135 W M 220V-50HZ R290 | SS 150 A M 220V-50HZ R290 | SS 150 W M 220V-50HZ R290
28 | MOTOR VENT.10W+PIE H72 220/50 M4Q045-CA03-51+71883 | FAN MOTOR 10W H72 220/50 | MOTOVENTILATORE 10W + PIE H 72 220/50 | 53.81 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
31 | TUBO CAPILAR 1 X 2 (44.8M=1K)(0.02232KM) | CAPILLARY TUBE 1 X 2 | TUBO CAPILLARE 1 X 2 (47.55 M = 1 K) (0.02103 KM) | 4.32 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | TUBO CAPILAR 1'5 X 2'5(0,02958 K/Ml) | CAPILLARY TUBE 1.5 X 2.5 | TUBO CAPILLARE 1'5 X 2.5 '(0,030K / Ml) | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
39 | PIVOTE CIERRE | TOP COVER SECURING PEG | PERNO CHIUSURA RAPIDA | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
44 | ESPIGA SALIDA CONDENSADOR W | CONDENSER EXIT PEG W | MANICOTTO USCITA CONDENSATORE W | 6.48 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0
165 | DESAGUE CUBA | DRAIN TRAY | SCARICO CUVA | 4.32 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
193 | JUNTA FILTRO ENTRADA AGUA 3/4" | WATER INLET FILTER GASKET | "GUARNIZIONE/FILTRO ENTRATA ACQUA 3/4""" | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
243 | TORN. DIN 7981 3.5X12.7 INOX | SCREW DIN 7981 INOX | VITE DIN 7981 INOX | 11.61 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
249 | TORN. DIN 933 M-5X10 INOX | SCREW DIN 933 M-5X10 INOX | VITE DIN 933 M-5X10 INOX | 4.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
258 | TUERCA DIN 934 M-5 INOX | NUT M5 STAINLESS D934 | DADO DIN 934 M-5 INOX | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
260 | TUERCA DIN 934 M-4 INOX | NUT M4 STAINLESS D934 | DADO DIN 934 M-4 INOX | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
275 | TORN. DIN 7981 4.8X12.7 INOX A2 | SCREW DIN 7981 4.8X12.7 INOX A2 | VITE DIN 7981 4.8*12.7 INOX A2 | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1
310 | ABRAZADERA TUBO RICH 102 ( 15.1-16.7) | JUBILEE CLIP RICH 102 ( 15.1-16.7) | FASCETTA PER TUBO RICH 102(15.1-16.7) | 3.24 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
311 | TUERCA 522-1C 213020-3 (5283-PNA) DELTATONE | NUT 522 IA 213019-0 (SMALL) | DADO 522-1C 213020-3 (5283-PNA) DELTATONE | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
312 | GRAPA REF. C4434-2 226008-2 | TOP COVER SECURING CLIP | FASCETTA C4434-2 226008-2 | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
318 | MANGUERA 6X12 TRASP. CR06103/CL/0030/ITV | TRANSPARENT HOSE 6X12 | TAGLIO TUBO 6x12 TRASP.CR06103/CL0030 | 12.66 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1
321 | TUBO CRISTAL 4-6 C0403/CL/0030/CD | CRYSTAL TUBE 4-6 | TUBO CRISTAL 4-6 C0403 / CL / 0030 / CD | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
329 | VALV AGUA 3.5 B (1152) | INLET WATER VALVE | ELETTROVALV. ACQUA 3.5 B | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
337 | BRIDA UNEX REF.1201-AGUJEROS- | CLIP TUBE | FLANGIA UNEX RIF.1201-FORI- | 2.16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
338 | BRIDA NATURAL 2.6x100 (PEQNA) | FLANGE 2.6X100 | FLANGIA NATURALE 2.6x100 (PICCOLA) | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
355 | RESORTE ENT AGUA Q20-30-40 0.8M/M | WATER INLET RESORT | MOLLA ENTR. AQUA 20-30-40 0.8mm | 2.16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
358 | BOLSA 115x121 FUELLE 27x27 G-300 | BAG 1210X1150 G300 P 62 | BORSA 115x121 FUELLE 27x27 G-300 | 6.48 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
363 | COLECTOR DESAGUE 3VIAS | DRAIN FITTING | RACCORDO SCARICO AQUA 3 VIE | 10.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
364 | TUBO CRISTAL 20-25 ALIMENTARIO | GLASS TUBE 20-25 | TUBO CRISTAL ALIMENTARE 20-25 TUBCLAIR | 9.72 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
373 | PASACABLES 610-G | WIRE GUIDING 610-G | PASSACAVO 610-G | 2.16 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
400 | REGLETA MAY 2 ELEM. TERM.6,35 RP4410007 | SEALED SPADE CONNECTOR 2 WAY | CONNETTORE MAY 2 POSTI 6.35 | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
408 | ALARGADERA SHUCKO 4.8-H05VV-F 3X1.5X2.5 BL C-4120 NEGRO VDE | SHUCKO PLUG | CAVO DI ALIMENTAZIONE SHUCKO 4.8-H05W-F 3x1.5 x2.5 BL NERO VDE | 10.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
420 | GRASA MULTIFAK EP2 TEXACO | GREASE MULTIFAK | GRASSO MULTIFAK EP2 TEXACO | 39.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
445 | MOTOR VENT.10W+PIE H84 220/50 M4Q045-CA03-49 | FAN MOTOR 10W 250 | MOTOVENTILATORE 10W+PIE H84 220/50 | 51.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
526 | INYECTOR PLANO DP | DP SPRAY NOZZLE | SPRUZZATORE PIANO | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
547 | BOBINA YB09 230/50-60Hz 304398(5173) | COIL YB09 230/50-60 | BOBINA YB09 230 / 50-60Hz 304398 (5173) | 22.16 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
580 | FILTRO MALLA INOX 60MM | NET FILTER | FILTRO RETE | 7.56 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
605 | LAMA CORTINA INTERIOR (10mm) | INNER CURTAIN FLAP | BANDIERINA INTERNA(10MM) | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
606 | LAMA CORTINA EXTERIOR (25mm) | OUTER CURTAIN FLAP | BANDIERINA ESTERNA(25MM) | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
636 | TUBO CAPILAR 0'8 x 2 (0.02491 KM) | CAPILLARY TUBE 0.8 X 2 | TUBO CAPILLARE 0'8 x 2 (0.025KM) | 5.4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
666 | REMATE TUBO TERMOSTATO | THERMOSTAT JOINT | FISSAGGIO TUBO TERMOSTATO | 4.32 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
780 | DESAGÜE CUBA BLANCO | WHITE DRAINAGE TRAY | SCARICO CUVA BIANCO | 4.32 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
805 | RESTRICTOR 8MM | WATER FLOW RESTRICTOR 8MM | RESTRICTORE 8mm | 8.64 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
806 | TUBO CRISTAL 15-20 ALIMENTARIO TUBCLAIR | PIPE 15X20 PUMP-DISTRIBUTOR | TUBO CRISTAL 15.20PER ALIMENTI TUBCLAIR | 7.56 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
842 | ABRAZADERA TUBO RICH 101 ( 11.9-13.5) | JUBILEE CLIP RICH 101 (11.9-13.5) | FASCETTA PEER TUBO RICH 101 (11.9-13.5) | 3.24 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1
853 | PUERTA INYECCION NG20 | INJECTIN DOOR NG20 | PORTA | 14.77 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
884 | MANGUERA 10X16 TRANSP. REFORZADA CR10 Clear 30ml/rollo | PIPE 8*16 | TAGLIO TUBO 10X16 Trasparente CR10 RINFORZATO30 ml / rotollo | 12.66 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
911 | DISTRIBUIDOR DE AGUA | WATER DISTRIBUTOR P6585145 | DISTRIBUTTORE ACQUA P65-85-145 | 21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
914 | T SOLDAR 3/8 | T WELD 3/8 | TEE SALDATURA 3/8 | 8.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
946 | BOLSA 145X182 FUELLE 34x34 G-300 | BAG 145*180 | BORSA 145X182 FUELLE 34x34 G-300 | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1
959 | BARRA PUERTA NG 20 -312MM- | DOOR BAR NG20 -312 MM- | BARRA PORTA NG 20 -312MM- | 4.32 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
976 | CLIP EXPULSORA | EXPELLER CLIP | CLIP SCIVOLLO | 7.56 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
985 | PALET NG-20 | PALLET NG20 | PALLET NG-20 | 17.94 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
993 | NDP20 TU CONEXION COLECTOR -60MM | CONNECTING TUBE | MANICOTTO CONNESSIONE RAMPA | 2.16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1212 | LAMA CORTINA INTERIOR NG20-ECO | INTERNAL FLAP | BANDIERINA INTERNA NG20-ECO | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
1213 | LAMA CORTINA EXTERIOR NG20-ECO | EXTERNAL FLAP | BANDIERINA ESTERNA NG20-ECO | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
1327 | REFUERZO DELANTERO NG-20 | FRONTAL SUPPORT NG-20 | SOSTEGNO | 65.41 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1365 | M2 RLL.TECNOLEN 33-10 FR BCO+ADH.ST 5(0.250K/M1) | M2 RLL.TECNOLEN 33-10 FR BCO+ADH.ST 5(0.250K/M1) | M2 RLL.TECNOLEN 33-10 FR BCO + ADH.ST 5 (0,250 K / M1) | 27.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1
1432 | TAPA EVAP. NG 20 | TOP COVER EVAPORATOR NG-20 | COPERTURA EVAP. GN 20 | 11.61 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1473 | VALVULA PARKER | HOT GAS VALVE BODY VE127CLS-2.5-220V | VALV.PARKER127 CLS 2.5 | 49.59 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
1570 | SEP PARTICULAS D 30X150-1 4 X1 4 | SEP PARTICLES D 30X150-1 4 X1 4 | BOYLER D 30X150-1 4 X1 4 | 6.48 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
1582 | DEFLECTOR GOTAS BOMBA EJE 8 | DEFLECTOR DROPS PUMP SHAFT 8 | DEFLETTORE GOCCE POMPA ALBERO 8 | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1715 | TOPE PUERTA CORREDIZA | SLIDING DOOR STOPPER | FERMO SPORTELLO | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
1719 | MANGUERA 6X12 900 | PIPE 6X12 900 | TAGLIO TUBO 6X12 900 | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
1743 | MANGUERA 6X12 1450 (318) | PIPE 6X12 1450 (318) | TAGLIO TUBO 6X12 1450 (318) | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
1794 | TRASERA NG-20 | REAR SIDE NG20 | RETRO | 30.6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1825 | ROLLO PEB BLANCO BRILLO 250X0.114 | GLOSS WHITE PEB ROLL 250X0.114 | ROTOLO PEB BIANCO LUCIDO 250X0.114 | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1826 | TE PLASTICO NORMA | "PLASTIC ""T"" (TS STANDARD)" | """T"" AI PLASTICA (NORMA TS)" | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1905 | ARAND. DIN 125 M-6 PA 00300200778 (6.4x12x1.6) | WASHER DIN 125 M-6 | Arand. DIN 125 M-6 PA 00300200778 (6.4x12x1.6) | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
1907 | CORTE TUBO CRISTAL 15-20 -200MM | EVACUATION PIPE IQ 85 230 MM | TUBO DI SCARICO IQ-85 -220MM IL TUO VETRO 15-20- | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
1913 | VALV AGUA 3.5 B/1 B/3.5 B (1040) | WATER INLET VALVE 3.5 B/1 B/3.5 B | ELETROVALVOLA ENTRATA ACQUA 3.5 B/1 | 41.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
1925 | CUBIERTA NG-20 | TOP COVER NG-20 | COPERTA | 39.04 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1934 | PILAR ACOMETIDA NG-20 | TUBE SUPPORT NG-20 | SUPPORTO FISSAGGIO TUBO | 34.82 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2170 | MOTOR VENT.5W+PIE H52 220/50 M4Q045-BD01-01+71882 | FAN MOTOR 5W H52 220/50 | MOTOVENTILATORE 5 W+PIE H52 220/50 | 32.71 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2171 | PATA SAB 20 | LEG (SHORT) | PIEDE PICCOLO (20) | 5.4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2189 | TUBO DESAGUE STOCK NG-20 | DRAINING TUBE 20 | STOCK NG-20 TUBO DI SCARICO | 3.24 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2191 | TUBO IMPULSION BOMBA NG-90 | WATER PUMP PIPE NMNG | TUBO MANDATA POMPA NG-90 | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2294 | LATERAL DCHO NG-20 | RIGHT PANEL NG20 | FIANCO DESTRO | 74.91 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2295 | LATERAL IZDO NG-20 | LEFT PANEL NG20 | FIANCO SINISTRO | 74.91 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2347 | TUERCA FIJACION (NEGRO)1420-010-10 | PLASTIC NUT (R/CH) | INSERTO FISSAGGIO NERO | 2.16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2440 | TUERCA FIJACION ITM (TOR 5'5) | PLASTIC NUT 5.5 | INSERTO IN PLASTICA ITM 5.5 | 2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2684 | REJILLA EXPULSORA DP 130 | ICE DEFLECTOR GRILLE DP140 | GRIGLIA CADUTA CUBETTI DP140 | 55.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2752 | NG-20 TU DESAGUE -335MM TU CRISTAL 20-25- | DRAINING TUBE NG20 335 MM | NG-20 IL TUO SCARICO -335MM IL TUO CRISTALLO 20-25- | 8.64 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2834 | CORTE TUBO CRISTAL 7-10 650MM | CRYSTAL TUBE 7-10 650 MM | TUBO DI CRISTALLO TAGLIATO 7-10 650MM | 5.4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3533 | CLIP BRIDA TUBO 1/4 (181286382015) SOPORTE CORTINA | "CLIP TUBE 1/4""" | CLIP TUBO 1/4 (181286382015)SUPPORTO BANDIEINE | 6.48 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3565 | CARTELA DCHA PUENTE MDP | RIGHT BRIDGE CARD. MDP | SCHEDA DESTRA PONTE MDP | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3566 | CARTELA IZDA PUENTE MDP | LEFT BRIDGE CARD. MDP | POSTER IN MDP BRIDGE IZDA | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3570 | EXTERIOR CAIDA HIELO MDP (3570TC) | EXIT ICE MDP | MDP GHIACCIO DA ESTERNO (3570TC) | 72.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3571 | INTERIOR CAIDA HIELO MDP (3571TC) | EXIT ICE MDPPS | MDPS PER GHIACCIO INTERNO (3571TC) | 66.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3577 | FRENTE MDP | FRONT PANEL MDP | MDP FRONT | 72.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3586 | CORTE MANGUERA 10x16 800mm | PIPE 10 X 16 800MM | TAGLIO TUBO 10x16 800mm | 4.32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
3634 | CURVA EVAP.P (6500 CR010X) 3/8"x22,9x24x0,5 | EVAPORATOR PART.(6500 CR010X) 3/8x22,9x24x0,5 | """CURVA EVAP.P (6500 CR010X) 3/8 """"x22.9x24x0.5""" | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1
3924 | SOPORTE FILTRO MDP | MDP FILTER SUPPORT | SUPPORTO FILTRO MDP | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3929 | SOPORTE BOMBA MDP | MDP WATER PUMP SUPPORT | SUPPORTO POMPA MDP | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3941 | FILTRO MALLA DIAM 50X50 | WIRE-MESH FILTER DIAM 50X50 | FILTRO MESH DIAM 50X50 | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3985 | CAPILAR CORTE -2000- 2X0.8 | CAPILLARY TUBE 2 X 0.8 | CAPILLARE DA TAGLIO -2000- 2X0.8 | 14.77 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4036 | SOPORTE CONDENSADOR W ALTO | WATER CONDENSER UPPER SUPPORT | SUPPORTO CONDENSATORE W ALTO | 3.24 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0
4037 | SOPORTE CONDENSADOR W BAJO | WATER CONDENSER LOWER SUPPORT | SUPPORTO CONDENSATORE W BASSO | 3.24 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0
4038 | SOPORTE CONDENSADOR W EXTERIOR | WATER CONDENSER EXTERNAL SUPPORT | SUPPORTO CONDENSATORE W ESTERNO | 3.24 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0
4098 | TUBO SILICONA 55 MM | SILICON TUBE 60 MM | TUBO SILICONE | 3.24 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4123 | PILAR ACOMETIDAS ECO 50 | INLET PIPE SUPPORT ECO 60 | SUPPORTO FISSAGGIO TUBO | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4136 | SOPORTE TRASERO ECP 72 | REAR SUPPORT ECO 80 | SUPPORTO TRASERO | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4144 | PATA NIVELADOR PMDA 40 M-10x22 | LEGS | PIEDE LIVELLAMENTO PMDA 40 M-10X22 | 3.24 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4147 | TUERCA DIN 934 M-10 ZINC | NUT DIN 934 M-10 ZINC | PIEDINI | 3.24 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4231 | PALA VENT. 230X28º ALUM.73811-2-3634 | FAN BLADE | PALA VENT. 230X28º ALUM.73811-2-3634 | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
4272 | GUIA PUERTA - REMATE BOCA ECO DCHO V.1 | RIGHT DOOR GUIDE FINISH | GUIDA DELLA PORTA - REMATE BOCA ECO DCHO V.1 | 5.4 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
4273 | GUIA PUERTA - REMATE BOCA ECO IZDO V.1 | LEFT DOOR GUIDE FINISH | GUIDA DELLA PORTA - REMATE BOCA ECO SINISTRA V.1 | 5.4 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
4276 | PIVOTE PUERTA ECO | DOOR PIVOT | PERNO DELLA PORTA ECO | 2.16 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
4280 | PILOTO LED VERDE 220V (SX28H15XAE00027) EVE00260 | GREEN LED | LAMPADINA LED VERDE 220V (SX28H15XAE00027) EVE00218 | 4.32 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4312 | OMEGA REFUERZO BANCADA ECP 52 | REINFORCEMENT OMEGA FOR BEDPLATE | OMEGA PIASTRA DI BASE ECP 52 | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4350 | RESTRICTOR BOMBA NG-20 DELRIN D6 | WATER PUMP RESTRICTOR NG20 | POMPA RESTRICTOR NG-20 DELRIN D6 | 3.24 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4425 | DESAGÜE REBOSADERO NG | DRAIN TUBE NG | TROPPOPIENO SCARICO NG | 8.64 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
4426 | REBOSADERO NIVEL NG | OVERFLOW PIPE | TROPPO PIENO NG | 11.61 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4427 | TAPA REBOSADERO NG | OVERFLOW PIPE CAP | COPERCHIO TROPPO PIENO NG | 8.64 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4476 | RESTRICTOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | WATER REGULATOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | RESTRICTORE 2.5L / MIN GIALLO VALV.ENT.W (1007) | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4496 | JUNTA TORICA 17X2 BLANCA FDA CERTIFICADA | O-RING 17X2 SILICONE | GUARNIZIONE O-RING BIANCA 17x2 FDA CERTIFICATA | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4501 | RACOR 90º ECO | COUPLING 90º ECO | RACORD | 4.32 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
4502 | TUERCA RACOR 90º ECO | COUPLING NUT 90º ECO | DADO RACCORDO 90ª ECO | 6.48 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4503 | JUNTA RACOR 90º INT22x EXT35x2(-0+0,2)SILICONA ALIMENTARIA | JOINT COUPLING 90º ECO SILICONE | GUARNIZONE GIUNTO 90º,35x22x2,SILICONA ALIMENTARE | 6.48 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4505 | FILTRO RACOR 90º ECP 18/ | FILTER COUPLING 90º ECO 35-120 | FILTRO | 6.48 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4521 | BANDEJA BOMBA ECP-ECO-NG | WATER PUMP TRAY | BACCINELLA POMPA ECP-ECO-NG | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4526 | RESTRICTOR 1L/MIN AZUL VALV.ENT.W (1005) | WATER REGULATOR 1L/MIN AZUL VALV.ENT.W (1005) | RESTRICTOR 1L / MIN BLUE VALV.ENT.W (1005) | 3.24 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
4527 | RESTRICTOR 1.2L/MIN MARRON VALV.ENT.AGUA | WATER FLOW RESTRICTOR 1.2L/MIN | RESTRICTORE1.2L/MIN | 3.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4552 | CAJA CARTON ECO 35/45 | CARDBOARD BOX 34 45 | SCATOLA CARTONE ECO 35/45 | 15.83 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4558 | PALET ECO 30-40 ECP 32-42 | PALLET 30-40 | PALLET ECO 30-40 ECP 32-42 | 16.88 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4561 | PALET ECO60 ECP52 | PALLET 60 | PALLET ECO60 ECP52 | 18.99 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4562 | PALET ECO80 ECP72 | PALLET 80 | PALLET ECO80 ECP72 | 27.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4563 | CAJA CARTON ECO 60 | CARDBOARD BOX 60 | SCATOLA CARTONE ECO 60 | 18.99 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4564 | CAJA CARTON ECO 80 | CARDBOARD BOX 90 | SCATOLA CARTONE ECO 80 | 30.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4594 | RACOR 90º ECO 100 | COUPLING 90º ECO 130 | RACCORDO 90º ECO 130 | 4.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4596 | CAJA CARTON ECO 100 | CARDBOARD BOX 130 | SCATOLA CARTONE ECO 100 | 31.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4597 | PALET ECO120 ECP110 | PALLET 120 | PALLET ECO120 ECP110 | 24.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4613 | SOPORTE BOMBA ECP 18-52 | WATER PUMP SUPPORT ECO SM. | SUPPORTO POMPA | 3.24 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4624 | TUBO TERMOSTATO ECP 32/42 | THERMOSTAT TUBE | TUBO TERMOSTATO ECP 32/42 | 3.24 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4627 | TUBO TERMOSTATO | THERMOSTAT TUBE | TUBO TERMOSTATO | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
4698 | PALA VENTILADOR BOMBA | FAN BLADE PUMP | PALA VENTOLA POMPA | 8.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
4713 | TUBO BOMBA EPDM NEGRO ECO 35/45 -320- | WATER PUMP DISCHARGE TUBE ECO 35/45 | TUBO IMPULSO POMPA | 4.32 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4714 | TUBO DESAGÜE C/ STOCK ECO 35/45 -260MM EPDM NEGRO- | OVERFLOW PIPE | TUBO SCARICO | 6.48 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4724 | TUBO IMPULSION BOMBA 60-80-100 -450MM EPDM NEGRO- | WATER PUMP DISCHARGE TUBE ECO 60 | TUBO IMPULSO POMPA | 4.32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4726 | TUBO DESAGUE ECO 60-80 -350MM EPDM NEGRO- | DRAIN PIPE ECO 60 | TUBO SCARICO | 4.32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
4727 | TUBO IMPULSION BOMBA ECP 72 -480MM EPDM NEGRO- | WATER PUMP DISCHARGE TUBE ECO 80 | TUBO IMPULSO POMPA | 4.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4729 | TUBO DESAGÜE ECO 100 -235 MM EPDM NEGRO- | DRAIN PIPE 80 | TUBO ESCARICO 80 | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4744 | CORTE TUBO EPDM NEGRO 180 MM | BLACK PIPE 175MM | TUBO EPDM NERO DA TAGLIO 180 MM | 3.24 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4755 | JUNTA EPDM DIA 30 INTERIOR ESP.2 BLANCA | JOINT EPDM | GUARNIZIONE BIANCA EPDM D 30x2 | 6.48 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4769 | BOMBA DPN25-347 NSF 220/50Hz | WATER PUMP 220V/50HZ | POMPA DPN25-347 NSF 220/50Hz | 48.53 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4810 | LATERAL ECO INOX 40 DCHO | RIGHT PANEL ECO 40 | FIANCO DESTRO | 79.13 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4811 | LATERAL ECO INOX 40 IZDO | LEFT PANEL ECO 40 | FIANCO SINISTRA | 79.13 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4812 | LATERAL ECO INOX 50 DCHO | RIGHT PANEL ECO 60 | FIANCO DESTRO | 137.15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4813 | LATERAL ECO INOX 50 IZDO | LEFT PANEL ECO 60 | FIANCO SINISTRA | 137.15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4814 | LATERAL ECO INOX 70 DCHO | RIGHT PANEL ECO 80 | FIANCO DESTRO | 70.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4815 | LATERAL ECO INOX 70 IZDO | LEFT PANEL ECO 80 | FIANCO SINISTRA | 70.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4886 | CORTE TUBO EPDM NEGRO 500 MM | WATER PUMP DISCHARGE TUBE BLACK 550 MM | TUBO NERO 550MM | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4887 | PALA VENT. 200x34º ALUM.73809-2-3634 | FAN BLADE 200X34º | PALA VENTILATORE 200x34º ALLUM.73809-2-3634 | 9.72 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4961 | TUBO ASPIRACION BOMBA NG20-30 | WATER PUMP SUCTION TUBE | TUBO ASPIRAZIONE POMPA NG20-30 | 12.66 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4994 | PALA VENT. 254x34º ALUM.73815-2-3634 | FAN PADDLE | PALA VENT. ALLUMINIO 254x34º. 73815-2-3634 | 14.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
5016 | COND.W (4V) 2.7M - REP=5242 | WATER CONDENSER | COND.W (4V) 2.7M - REP = 5242 | 68.58 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5019 | COND.W (10V) 7.08M (REP=5246) | SPARE 5246 - CONDENSER W | COND.W (10V) 7.08M (REP = 5246) | 175.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
5020 | COND.W (4V-DIAM.155) (REP=5224) | SPARE 5224 - CONDENSER W | COND.W (4V-DIAM. 155) (REP = 5224) | 50.64 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5173 | BOBINA VAL.G.C.220/50-60Hz ENGASTADA | HOT GAS COIL 220V-50/60Hz | BOBINA GAS CALDO 220V-50/60HZ | 29.54 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
5223 | CORTINA GALA NG 20 | CURTAIN NG20 | TENDA GALA NG 20 | 13.72 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5230 | TUBO TERMOSTATO INOX 320MM NG20 | THERMOSTAT TUBE INOX 320 MM NG20 | TUBO TERMOSTATO INOX 320MM NG20 | 8.64 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5400 | BOMBA LARGA 87.5 RODETE 55P(MOT MA-VIB) | PUMP 87.5 TURBINE 55 | ELETTROPOMPA 87.5 TURB. 55 | 188.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
5827 | MDP 150 TAPA EVAPORADOR | MDP EVAPORATOR COVER | COPERCHIO EVAPORATORE MDP 150 | 52.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
5957 | CORTINA ECO 110 | CURTAIN 130 | BANDIERINE | 32.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
6017 | MACHO DESAGUE ECO | MALE DRAINAGE | SCARICO | 3.24 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
6018 | RACOR DESAGUE RECTO ECO | RIGHT DRAIN RACCORD | RACCORDO SCARICO RECTO ECO | 3.24 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
6021 | TUBO DESAGUE STOCK ECO | STOCK BIN DRAIN TUBE | TUBO SCARICO STOCK | 4.32 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
6084 | REJILLA LATERAL MS | SIDE LOUVER | GRIGLIA LATERALE MS | 41.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6152 | TORN. FASTITE FT85T TORX 4X7 ZINC | SCREW FASTITE FT85T TORX 4X7 ZINC | VITE. FASTITE FT85T TORX 4X7 ZINCO | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6206 | COLECTOR DESAGUE MS NEGRO | DRAIN PIPE MS BLACK | COLLETORE SCARICO MS NERO | 10.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
6396 | VALVULA SOL 1/4" Orif.3mm V4S2 | HOT GAS VALVE - BODY | "VALV.PARKER 1/4"" Orif.3mm V4S2" | 81.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
6418 | CHAPA PUERTA IT SS 30-40 | COVER DOOR INOX 30 40 | COPERTA PORTA | 13.72 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6419 | CHAPA PUERTA ICE TECH SS 60 | COVER DOOR INOX 60 | COPERTA PORTA | 16.88 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
6420 | CHAPA PUERTA ICE SS 80 | COVER DOOR INOX 80 | COPERTA PORTA | 22.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
6526 | TUBO PVC 16-18 NSF-ABS 40MM | PVC TUBE 16-18 NSF-ABS 40 MM | TUBO IN PVC 16-18 NSF-ABS 40MM | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6856 | DESHIDRATADOR 12GR SM2/12 GR.12D19X103 UNIV. 1/4-2.5 | DRIER 12GR SM2/12 GR.12D19X103 UNIV. 1/4-2.5 | DISIDRATATORE 12GR SM2 / 12 GR.12D19X103 UNIV. 1 / 4-2.5 | 15.83 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6904 | VALVULA NEV-202DXF (D-1.9)44NE0001 | HOT GAS VALVE - BODY | VALVOLA NEV-202DXF (D-1.9) | 22.16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6906 | BOBINA NEV-MOAJ502B1 ENGASTADA | HOT GAS VALVE - COIL | BOBINA NEV-MOAJ502B1 | 22.16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6921 | EVAPORADOR 16GR ALFA NG20/18 1S TERMINADO | EVAPORATOR FOR ALFA NG20/55 | EVAPORATORE 16GR ALFA NG20 / 18 1S FINITO | 161.42 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6929 | CAPILAR 1.2 X 2.2 X 2400 | CAPILLARY TUBE 1,2*2,2 | CAPILLARE 1,2 X 2,2 X 2400 | 13.72 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
6959 | RESTRICTOR 0.8 L/MIN BCO VALV.ENT.W SAL cod1208 | WATER FLOW RESTRICTOR 0.8 L/MIN | RESTRICTORE 0,8 L / MIN BIANCO VALV.ENT.W SAL cod1208 | 5.4 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6980 | VALV AGUA LIBRE B 220/50-60HZ | INLET WATER VALVE 1B 220V/50HZ | ELETTROVALV. ACQUA LIBERO B 220 / 50-60HZ | 15.83 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1
6981 | VALV AGUA LIBRE B/LIBRE B 220V/50-60HZ | WATER INLET VALVE B 220V/50-60HZ | ELETTROVALV ACQUA LIBERO B / LIBERO B 220V / 50-60HZ | 14.77 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0
6982 | VALV AGUA 0.8 B 220/50-60 | WATER VALVE 0.8 B 220/50-60 | VALV WATER 0,8 B 220 / 50-60 | 11.61 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6985 | TUBO RECTO ENS. 100MM 1/4 | STRAIGHT COPPER TUBE 100MM 1/4 | TUBO DRITTO ALLARGATO 100MM 1/4 | 4.32 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0
7333 | &COLECTOR DP-20-30-40 TERMINADO(287) | WATER DISTRIBUTOR DP | DISTRIBUTORE ACQUA DP | 35.87 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7350 | COLECTOR NG-90(12DUCHAS)TERM.(561.5) | WATER DISTRIBUTOR TUBE WITH NOZZLES 90 | RAMPA SPRUZZATORI NG90 (12SPRUZZATORI )FINITO. (561.5) | 42.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7363 | PUENTE MDP 150 SOLDADO | MDP WELDED BRIDGE | PONTE SOLDADO MDP 150 | 198.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7365 | CUBA MDP TERMINADA (7365CO) | MDP INSULATED BIN | SERBATOIO MDP TERMINATO (7365CO) | 241.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7379 | EVAPORADOR 30GR MDP 150/84 TERMINADO | MDP EVAPORATOR | EVAPORATORE 30GR MDP 150/84 FINITO | 599.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7454 | &COLECTOR ECO 40(6DUCHAS)TERM.(370) | SPRAY BAR IT 45 | COLLECTOR 6 | 32.71 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7455 | COLECTOR ECO 50(9DUCHAS)TERM.(448) | SPRAY BAR ECO 60 | COLLECTOR 9 | 36.93 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
7456 | COLECTOR ECO 70(12DUCHAS)TERM.(578) | SPRAY BAR ECO 80 | COLLECTOR 12 | 41.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
7497 | COLECTOR ECO 110(18DUCHAS)TERM.(852) | SPRAY BAR 130 | COLLECTOR 18 | 81.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
7503 | CUBA STOCK NG20 BLANCA TERMINADA (7503CO) | STOCK BIN NG20 | STOCK BASCA NG20 BIANCO FINITO (7503CO) | 54.86 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7706 | TAPON GOMA 9X45 | RUBBER PLUG 9X45 | TAPPO IN GOMMA 9X45 | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
7896 | DESHIDRATADOR 20 GR 1E 1S 1/4" C/CURVA | FILTER DRIER | "ESSICCATORE 20 GR 1E 1S 1/4"" CON CURVA" | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8176 | SOPORTE CORTINA ECO 40 PL. | CURTAIN SUPPORT 40 | SUPPORTO TENDA ECO 40 PL. | 9.72 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8177 | SOPORTE CORTINA ECO 60 PL. | CURTAIN SUPPORT 60 | SUPPORTO TENDA ECO 60 PL | 10.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
8178 | SOPORTE CORTINA ECO 80 PL. | CURTAIN SUPPORT 80 | SUPPORTO TENDA ECO 80 PL | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
8359 | EJE CORTINA ECO 40 L=375 | CURTAIN AXE 40 L | ASSE TENDA ECO 40 L = 375 | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8362 | MONTAJE CORTINA ECO 40 | CURTAIN ASSEMBLY ECO 40 | SUPPORTO TENDA ECO 40 | 33.76 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8363 | MONTAJE CORTINA ECO-60 | CURTAIN ASSEMBLY ECO 60 | SUPPORTO TENDA ECO-60 | 29.54 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
8411 | PASACABLES A PRESION (UL) RETENEDOR | WIRE HOLE 31.615/6/R | PASSACAVI A PRESSIONE (UL) BLOCCANTE | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8462 | SEPAR.PART.D34X0.6X170 1A 3/8-3/8 | PARTICLES SEPARATOR D34X0.6X170 1A 3/8-3/8 | BOYLER .D34X0.6X170 1A 3 / 8-3 / 8 | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
8687 | BOMBA DPS35 - 058N 220-240V / 50HZ / 40W | PUMP DPS35 - 058N 220-240V / 50HZ | POMPA DPS35 - 058N 220-240V / 50HZ / 40W | 143.48 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
8806 | COIL 9300/RA6 HF2 ASSY 220V-50/60HZ | COIL 9300/RA6 HF2 ASSY 220V-50/60HZ | BOBINA 9300 / RA6 HF2 ASSY 220V-50 / 60HZ | 29.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8829 | TUBO ASPIRACION BOMBA ECO 30-40 (L320) | SUCTION TUBE OF PUMP 30 40 | TUBO ASPIRAZIONE POMPA ECO 30-40 (L320) | 14.77 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8830 | TUBO ASPIRACION BOMBA ECO 60 (L450) | SUCTION TUBE OF PUMP 60 | TUBO ASPIRAZIONE POMPA ECO 60 (L450) | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
8831 | TUBO ASPIRACION BOMBA ECO 110 (L500) | SUCTION TUBE OF PUMP 110 | TUBO ASPIRAZIONE POMPA ECO 110 (L500) | 13.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0
8872 | AISLAMIENTO VAL. EXP. DANFOSS TUB | DANFOSS INSULATED | ISOLAMENTO VALV. EXP. DANFOSS TUB | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8996 | SUJECION CUBIERTA ECO | TOP COVER FASTENING | MORSETTO COPERTO ECO | 8.64 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
30172 | OMEGA REFUERZO CUBIERTA ECO70 | REINFORCEMENT TOP COVER 70 | RINFORZO OMEGA COVERED ECO70 | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
30210 | CHAPA PUERTA ICE TECH SS 20 | COVER DOOR INOX 20 | SCHEDA PORTA ICE TECH SS 20 | 5.4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30300 | LAMA EXTERIOR DOBLE LARGA | DOUBLE LONG EXTERNAL LATTICE | BANDIERINA ESTERNA DOPPIA LUNGA | 10.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30466 | ARANDELA 36X23.5X0.7 INOX MATE | WASHER 36*23 | RONDELLA 36X23.5X0.7 INOX MATE | 2.16 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
30628 | JUNTA EPDM NEGRA D9.9 x D18.8 x 3.1 mm | JOINT EPDM NEGRA D9.9 x D18.8 x 3.1 mm | GUARNIZIONE EPDM NERA D9,9 x P18,8 x 3,1 mm | 6.48 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30669 | GUIA ECO 110 INFERIOR IZQ | LOWER LEFT DOOR GUIDE | ECO 110 GUIDA INFERIORE IZQ | 17.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
30670 | GUIA ECO 110 INFERIOR DCHA | LOWER RIGHT DOOR GUIDE | GUIDA ECO 110 INFERIORE DESTRA | 17.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
30671 | REMATE PUERTA ECO 110 IZQ | FINISH DOOR ECO 110 LEFT | REMATE DOOR ECO 110 IZQ | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
30672 | REMATE PUERTA ECO 110 DCHA | FINISH DOOR ECO 110 RIGHT | PORTA REMATA ECO 110 DCHA | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
30673 | TIRADOR PUERTA ECO 110 DELANTERO | ECO 110 FRONT DOOR HANDLE | MANIGLIA PORTA ECO 110 ANTERIORE | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
30674 | TIRADOR PUERTA ECO 110 TRASERO | ECO 110 REAR DOOR HANDLE | MANIGLIA PORTA ECO 110 POSTERIORE | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
30722 | ARAND. DIN 9021 M-5 INOX A2 (5.3X15X1.2) | ARAND. DIN 9021 M-5 INOX A2 (5.3X15X1.2) | RONDELLA. DIN 9021 M-5 INOX A2 (5.3X15X1.2) | 7.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30793 | ETIQUETA ICE TECH CORTE E IMPRESION 110x16 mm MARCA | ICE TECH LABEL CUT AND PRINT 110x16 mm BRAND | ETICHETTA ICE TECH TAGLIO E TAMPA 110x16 mm MARCHIO | 10.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
31005 | CASQUILLO FIJACION GUIA PUERTA ECO | ECO DOOR GUIDE FIXING CAP | TAPPO DI FISSAGGIO GUIA PUERTA ECO | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
31114 | REJILLA EXPULSORA NG20 INY. | CUBE SLIDE GRILL 20 (WHITE) | GRIGLIA ESPULSIVA NG20 INY. | 28.49 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31145 | CHAPA PUERTA ECO 110 NEGRO | BLACK DOOR PANEL ECO 110 | COPERTURA PORTA ECO 110 NERO | 18.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
31146 | PUERTA ECO 110 NEGRO | DOOR | PORTA ECO 110 NERA | 120.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
31271 | LAMA EXTERIOR DOBLE CORTA |  | BANDIERINA EXTERNA DOPPIA PICCOLA | 7.56 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
31306 | COMPRESOR NEU6217U (14.3CC) CSIR 220-240/50 R290 | COMPRESSOR (14.3CC) 220-240/50 R290 | COMPRESSORE NEU6217U (14.3CC) CSIR 220-240 / 50 R290 | 263.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
31309 | COMPRESOR 220-240/50 R290 | COMPRESOR 4.24CC 220/240-50HZ | COMPRESSORE 220-240/50 R290 | 585.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
31310 | COMPRESOR (27.8CC) CSR 220-240/50 R290 | COMPRESSOR 220-240/50 R290 | COMPRESSORE NT6230U (27,8CC) CSR 220-240/50 R290 | 524.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
31444 | DISTRIBUIDOR DES-GC C/PRESOSTATO | PRESSURE SWITCH COLLECTOR | "DISTRIBUTTORE MAN.-GC C / PRESOST. 1/4 """"X1 / 4""""""" | 13.72 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31513 | PERFIL 20X10 (L=45) ADHESIVADO 1C SILICONA BLANCO ROTO DUREZA 10º SH+-5 | PROFILE 20X10 (L=45) ADHESIVE 1C SILICONE OFF WHITE HARDNESS 10º SH+-5 | PROFILO 20X10 (L = 45) ADESIVO 1C SILICONE BIANCO DUREZZA ROTTA 10º SH + -5 | 9.72 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
31524 | VALVULA EXPANSION ORIF.4 (R290) 1/4X1/2 | EXPANSION VALVE | VALVOLA ESPANSIONE ORIF.4 (R290) 1/4X1/2 | 130.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
31530 | ASPIRACION NDP20 220-50 R290 | SUCTION NDP20 220-50 R290 | ASPIRAZIONE NDP20 220-50 R290 | 20.05 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31544 | CLIP PLACA CB SPT-DUAL LOCK-NATURAL (DLCBS8-3-01) | ELECTRONIC BOARD CLIP | CLIP PLACCA CB SPT-DUAL LOCK-NATURAEL (DLCBS8-3-01) | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31666 | SOPORTE TERMOSTATO NG | THERMOSTAT SUPPORT NG | SUPPORTO TERMOSTATO NG | 5.4 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
31719 | PULSADOR N/P NEGRO | CLEANING SWITCH | PULSANTE N/P NERO | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
31746 | PASACABLES D20 (30007 GROM OPEN 20X1/16) | WIRE HOLE | PASSACAVI D20 (30007 PASS. APERTO 20X1/16) | 11.61 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31758 | TERMOSTATO PARO (R290) | BIN THERMOSTAT | TERMOSTATO CONTENITORE K50B XXXX (R290) | 27.43 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31791 | MANGUERA ENTRADA AGUA WATERMARK (59000240) | WATERMARK WATER PIPE | TAGLIO TUBO INGRESSO ACQUA WATERMARK (59000240) | 10.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32016 | CANTONERA GRUPO 3 LONGITUD 825-815-790-780 | GROUP 3 LENGTH EDGE 825-815-790-780 | TELAIO GRUPPO 3 LUNGHEZZA 825-815-790-780 | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32017 | CANTONERA GRUPO 4 LONGITUD 745-730-705-675 | GROUP 4 ANGLE LENGTH 745-730-705-675 | TELAIO GRUPPO 4 LUNGHEZZA 745-730-705-675 | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32163 | VALV. SOLENOIDE 1038/3S 3/8 ODS | VALV. SOLENOID 1038 / 3S 3/8 ODS | VALV. SOLENOID 1038 / 3S 3/8 ODS | 109.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32174 | CODO ESPIGA D10.5 | WATER INLET PIPE | RACCORDO A GOMITO D10.5 | 4.32 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
32175 | BOQUILLA ENTRADA AGUA ECO | WATER INLET | UGELLO INGRESSO ACQUA ECO | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
32187 | CONDENSADOR W (5V) 3.48M (REP= 33035) | WATER CONDENSER | CONDENSATORE W (5V ) 3,48M (REP= 33035) | 163.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
32251 | CONDENSADOR 9X4 2V T1/4 | AIR CONDENSER | CONDENSATORE 9X4 2V T1/4 | 202.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
32415 | PILOTO LED AZUL 220V (SX28H15XAF000XX) EVE00219 | BLUE LED | PILOTA LED BLU 220V (SX28H15XAF000XX) EVE00219 | 4.32 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32416 | INTERRUPTOR A1 NEGRO 10A AT | MAIN SWITCH | INTERRUTTORE A1 NERO 10A AT | 11.61 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32441 | EMBELLECEDOR INTERRUPTOR ATEX NG | MAIN SWITCH SUPPORT | SUPPORTO / INTERRUTTORE INTERRUTTORE + LED | 5.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32442 | EMBELLECEDOR INTERRUPTOR ATEX ECO | MAIN SWITCH SUPPORT | Interruttore Trim + Led | 5.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
32523 | SOPORTE INTERRUPTOR ATEX ECO | SWITCH SUPPORT PANEL ECO | SUPPORTO INTERRUTTORE | 9.72 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
32603 | CABLEADO ECO 80 ELECTRONICA ATEX | WIRING ECO 80 ATEX ELECTRONICS | CABLAGGIO ELETTRONICO | 60.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
32634 | CUADRO Y CABL. ECO 80 ELECTRONICA ATEX | ELECTRONIC BOX AND CABL. ECO 80 ATEX | TABELLA E CAVO. ECO ELECTRONICA | 160.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
32644 | SONDA NTC INOX 6X30 2.5M C/CONECTOR (AX2426/02500) | TEMPERATURE PROBE | SONDA NTC INOX 6X30 2,5M CON CONETTORE(AX2426/ 02500) | 11.61 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32645 | TUBO 3/8 U/C | TUBE 3/8 U/C | ASPIRAZIONE R290 ECO45 50 HZ | 8.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
32656 | CABLE MOTOR VENTILADOR | FAN MOTOR WIRE 220V/50HZ | CAVO MOTORE VENTOLA | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
32730 | CONDENSADOR 10X3 2V P230 T1/4 | AIR CONDENSER | CONDENSATORE 10X3 2V P230 T1/4 | 193.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
32731 | CONDENSADOR 11X3 2V P254 T1/4 | CONDENSER 11X3 2V P254 T1/4 | CONDENSATORE 11X3 2V P254 T1/4 | 193.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
32878 | CUADRO Y CABLEADO ECO 110 ELECTRONICA ATEX | ELECTRONIC BOX AND CABL ECO 110 ATEX | TABELLA E CAVO. ECO ELECTRONICA | 206.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
32887 | MONTAJE CORTINA NG DP70 40GR | CURTAIN ASSEMBLY NG | ASSIEME SUPPORTO BANDIERINE NG DP70 | 32.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32907 | CORTE MANGUERA 10x16 1200mm | PIPE 10 X 16 800MM | TAGLIO TUBO 10x16 800mm | 6.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
33033 | RESTRICTOR 1.5L/MIN VALV.ENT.AGUA | WATER FLOW RESTRICTOR 1.2L/MIN | RESTRICTORE1.2L/MIN | 5.4 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0
33279 | MONT.ENT.W CENTRAL ECO40 W 220V 2.0 | MONT.INT.W CENTRAL ECO40 W 220V 2.0 | MONT.ENT.W CENTRALE ECO35 W R290 | 22.16 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33290 | MONT.ENT.W CENTRAL ECO60-80 W 220V 2.0 | MONT.INT.W CENTRAL ECO60-80 W 220V 2.0 | MONT.ENT.W CENTRALE ECO60 W R290 | 27.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
33302 | COMPRESOR EMX6181U (6.92CC) 220-240/50-60 R290 | COMPRESSOR (7.28CC) 220-240/50 R290 | COMPRESSORE (7.28CC) 220-240/50 R290 | 239.49 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33303 | COMPRESOR EMX6210U (9.04CC) CSIR 220-240/50 R290 | COMPRESSOR 220-240/50 R290 | COMPRESSORE NEU6210U (8.78CC) CSIR 220-240 / 50 R290 | 258.48 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
33425 | SONDA NTC INOX 6X30 1.5M C/CONECTOR | TEMPERATURE PROBE | SONDA NTC INOX 6X30 1,5M CON CONETTORE | 6.48 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33530 | CORTE BURLETE TECNOLEN 420MM | TECNOTERM WEATHERSTRIP CUT (25*40). 420MM | TAGLIO GUARNIZIONE TECNOTERM 420MM | 6.48 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33648 | CUADRO Y CABL. MDP 220V ELECTRONICA | ELECTRONIC BOX AND CABL MDP 220V | TABELLA E CAVO. ECO ELECTRONICA | 207.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
33671 | COND.AGUA 5.5V 7KW TUBO 19 (DIAM 140) | WATER CONDENSER 5.5V 7KW TUBO 19 (DIAM 140) | COND.WATER 6V TUBE 35 (DIAM 340) -MR | 237.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
33688 | TAPA EVAPORADOR ECO 130 | EVAPORATOR COVER 130 | COPERTA EVAPORATORE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
33689 | TAPA CUADRO ELECTRICO MDP R290 | ELECTRIC BOX COVER | COPERCHIO SCATOLA ELETTRICA R290 | 11.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
33690 | BASE CUADRO ELECTRICO MDP R290 | ELECTRIC BOX SUPPORT | BASE SCATOLA ELETTRICA NG R290 | 10.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
33709 | TAPA EVAPORADOR ECO 80 | EVAPORATOR COVER 80 | COPERTA EVAPORATORE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
33725 | SOPORTE CORTINA-EVAPORADOR MDP |  |  | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
33892 | CORTE BURLETE TECNOLEN 510MM |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1933U | FRENTE NG-20 (ATEX) | FRONT PANEL NG20 | GRIGLIA FRONTALE | 25.32 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2086UA | FRENTE REJILLA INOX ECO 30-40 R290 (ATEX) | FRONT PANEL | GRIGLIA ANTERIORE ECO INOX 30-40 R290 | 35.87 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2088UA | FRENTE REJILLA ECO DELTA INOX 60 R290 (ATEX) | FRONT PANEL | GRIGLIA ANTERIORE ECO DELTA INOX 60 R290 | 53.81 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2089U | FRENTE REJILLA ECO DELTA INOX 80 R290 (ATEX) | FRONT GRILL | GRIGLIA FRONTALE | 73.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
2297A | TAPA EVAP. NG 55 | EVAPORATOR COVER | COPERCHIO EVAP. NG 55 | 19.15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
30667A | GUIA ECO 135 110 SUPERIOR IZQ | LEFT DOOR GUIDE | GUIDA ECO 110 SUPERIORE IZQ | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
30668A | GUIA ECO 135 - 110 SUPERIOR DCHA | RIGHT DOOR GUIDE | ECO 110 GUIDA SUPERIORE DESTRA | 11.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
31012F | CUBA STOCK ECO 130 |  | CUVA CONTENITORE ECO 110 V2 FINITA (31012PU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
31160E | PRESOSTATO NSDHF12B00100 (11.5-13.5 BAR) R290 | FAN CONTROL PRESSURE SWITCH | PRESSOSTATO NSDHF12B00100 (11.5-13.5 BAR) R290 | 33.76 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31556B | CUADRO Y CABL. ECO ELECTRONICA ATEX | ELECTRONIC BOX AND CABL ECO ATEX | TABELLA E CAVO. ECO ELECTRONICA | 147.7 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
31557B | CABLEADO ECO ELECTRONICA ATEX |  | CABLAGGIO ELETTRONICO | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
31571A | TAPA CUADRO ELÉCTRICO R290 ATEX | ELECTRIC BOX COVER | COPERCHIO SCATOLA ELETTRICA R290 | 12.66 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
31660E | PRESOSTATO NSDHA 12B00300 (25-20 BAR) R290 | HIGH PRESSURE SWITCH | PRESSOSTATO NSDHA 12B00300 (25-20 BAR) R290 | 32.71 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31823A | BASE CUADRO ELECTRICO ECO R290 ATEX | ELECTRIC BOX SUPPORT | BASE SCATOLA ELETTRICA ECO R290 | 7.56 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
31826U | BASE CUADRO ELECTRICO NG20 R290 (ATEX) | ELECTRICAL PANEL BASE NG20 R290 (ATEX) | SCATOLA ELETTRICA BASE NG20 R290 | 8.64 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31828U | CUADRO Y CABL. NG20 220V ELECT. R290 (ATEX) | ELECTRONIC BOX AND CABL NG20 220V R290 (ATEX) | TABELLA E CAVO. NG20 ELETTRO 220V. R290 | 143.48 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32654A | MOTOR VENTILADOR 230V/50-60HZ | FAN MOTOR 220V/50HZ |  | 160.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
333A | BU-FLEX OUTLET HOSE 21C/22 L.1'8 MTS. RUBBER 20 | WATER OUTLET DRAINING HOSE | TUBO DI SCARICO 21C/22,L1.8MT | 4.32 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3561U | BANCADA MDP R290 | MDP BEDPLATE | MDP BANKING | 96.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3568U | TIRANTE PUENTE MDP R290 | SUPPORT MPD | TRACOLLA IN MDP | 20.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3570TC | EXTERIOR CAIDA HIELO MDP TERMOCONFORMADO | OUTSIDE ICE FALL THERMOFORMED MDP | MDP PER GHIACCIO DA ESTERNO | 64.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3571TC | INTERIOR CAIDA HIELO MDP TERMOCONFORMADO | INTERIOR ICE FALL THERMOFORMED MDP | MDPS DI GHIACCIO INTERNO INTERNO | 63.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3575U | LATERAL DCHO MDP R290 | RIGHT PANEL MDP | MDP LATO DESTRO | 131.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3576U | LATERAL IZDO MDP R290 | LEFT PANEL MDP | MDP LATO SINISTRO | 131.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3579U | TRASERA MDP R290 | REAR UPPER PANEL MDP | MDP POSTERIORE SUPERIORE | 15.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
4105U | SOPORTE DELANTERO ECO30-40 R290 |  | SUPPORTO ANTERIORE ECO30-40 R290 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4108U | TRASERA ECO 30/40 R290 | REAR COVER | POSTERIORE EC0 30/40 R290 | 52.75 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4124U | TRASERA ECP 52 R290 | REAR COVER | ECP POSTERIORE 52 R290 | 55.92 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4135U | SOPORTE DELANTERO EC0 70 R290 | FRONT SUPPORT EC0 70 R290 | SUPPORTO ANTERIORE EC0 70 R290 | 9.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4138U | TRASERA ECO 70 R290 | REAR COVER | ECO POSTERIORE 70 | 12.66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4268A | PUERTA ECO 40 REFORZADAS VIP | DOOR ECO 35/45 | PORTA | 13.72 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4269A | PUERTA ECO 60 | DOOR ECO 60 | PORTA | 26.38 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4270A | PUERTA ECO 70/80 | DOOR ECO 80 | PORTA | 27.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4433A | TAPA EVAP. NG-ECO 40 | EVAPORATOR COVER | COPERCHIO EVAP. NG 40 | 17.9 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4460U | TRASERA ECO 110 R290 | REAR PANEL ECO 120 | RETRO | 20.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4464B | SOPORTE CORTINA ECO 110 | CURTAIN SUPPORT 130 | SUPPORTO BANDIERINE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4816A | LATERAL ECO INOX 100 DCHO | RIGHT PANEL ECO 120 | FIANCO DESTRO INOX ECO 100 | 231.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4817A | LATERAL ECO INOX 100 IZDO | LEFT PANEL ECO 120 | FIANCO SINISTRO INOX ECO 100 | 231.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
4818V1 | CUBIERTA ECO 40 INOX | INOX COVER 40 | COVER ECO 40 INOX | 37.98 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4819V1 | CUBIERTA ECO 50 INOX | INOX COVER 50 | COPERTURA INOX ECO 50 | 45.37 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4820V1 | CUBIERTA ECO 70 INOX | INOX COVER 70 | COPERTURA INOX ECO 70 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4821V1 | CUBIERTA ECO 100 INOX REF | INOX COVER 100 | COPERCCHIO ECO 100 INOX RIF | 89.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
486A | CONDENSADOR 8X3 C/B | AIR CONDENSER 8X3 | CONDENSATORE Q4V 8x3 C/B | 96.01 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
487A | CONDENSADOR 8X4 C/B | AIR CONDENSER 8X4 | CONDENSATORE Q6V 8X4 C/B | 117.11 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6453AU | FRENTE REJILLA ECO DELTA 120 INOX R290 (ATEX) | FRONT GRILL | GRIGLIA FRONTALE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
6907A | CONDENSADOR 8X3 NG-20 | SPARE - CONDENSER 8*3 | CONDENSATORE 8X3 NG-20 | 83.35 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7156A | EVAPORADOR 30GR NG70/48 TERMINADO | EVAPORATOR 30GR | EVAPORATORE 30GR | 326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
7400A | EVAPORADOR 30GR NG55/36 TERMINADO | EVAPORATOR 30GR | EVAPORATORE 30GR | 258.48 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
7423B | EVAPORADOR 30GR NG 40/24 TERMINADO | EVAPORATOR 30GR | EVAPORATORE 30GR | 182.52 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7460B | CUBA STOCK ECO 40 - B (7460BCO) | BIN ECO 40 | BASCA STOCAGGIO ECO 40 (7460BCO) | 111.83 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7461B | CUBA STOCK ECO 50 - B (7461BCO) | BIN | BASCA STOCAGGIO ECO 50 (7461BCO) | 145.59 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
7462B | CUBA STOCK ECO 70 - B TERMINADA (7462BCO) | STOCK BIN ECO 80 | VASCA STOCAGIO | 155.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
7501A | EVAP. 30GR.ECO 110/72 TERMINADO | EVAPORATOR 22 GR. 130 | EVAPORATORE 22 GR | 496.91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
8143E | PLACA CONTROL ELECTRONICA 220V/50-60HZ | ELECTRONIC BOARD 220V/50HZ | PLACA ELETTRONICA CUBETTI / SPIKA 220V / 50-60HZ (V / S CSPK05) 02.52.0441.R2 EX | 96.01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
8213U | CORTINA CUADR. ELECTRICO NG-20 R290 ATEX | ELECTRICAL SWITCHBOX CURTAIN | TENDA CUADR. NG-20 ELETTRICO | 7.56 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8358A | SOPORTE CORTINA NG-20 | CURTAIN SUPPORT NG-20 | SUPPORTO TENDA NG-20 | 5.4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8364A | MONTAJE CORTINA ECO-80 | CURTAIN ASSEMBLY ECO 80 | SUPPORTO TENDA ECO-80 | 28.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
8904C | REJILLA EXPULSORA VARILLAS ECO40 | ICE CUBES RAMP | GRIGLIA ESPULSIVA VARILLAS ECO40 | 10.8 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8905A | REJILLA EXPULSORA VARILLAS ECO50 | ICE CUBES RAMP | GRIGLIA ESPULSIVA VARILLAS ECO50 | 13.72 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
8906A | REJILLA EXPULSORA VARILLAS ECO70 | ICE CUBES RAMP | GRIGLIA ESPULSIVA VARILLAS ECO70 | 14.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
8907B | REJILLA EXPULSORA VARILLAS ECO130 | CUVE EJECT GRILL 110 | GRIGLIA DI ESPULSIONE VARILLAS ECO110 | 79.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
911U | DISTRIBUIDOR DE AGUA SIN TAPON | WATER DISTRIBUTOR | DISTRIBUTTORE ACQUA P65-85-145 | 21.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1